## ROI Calculator Instructions
Rev. B
The Fulham ROI Calculator in Sheet 1 of this Workbook is designed to provide basic LED savings calculations.
All the light blue fields are unprotected cells intended for users to input data.
1 | MANUFACTURE BY, CONTACT, DATE, PROJECT, PROJECT #, and SCOPE OF WORK HERE are for your reference
purposes, in order to differentiate this worksheet from others. Leaving fields blank will not affect the analysis.
2 | QUANTITY OF LUMINAIRES - Input the number of current luminaires in the left column. Typically, the right column will
be the same, unless fewer LED luminaires are anticipated to be needed in order to replace the existing systems.
Cell F12 should never exceed cell E12.
3 | LIGHTING SYSTEM in this section you must type in the system you currently have installed or wish to compare,
e.g. "Metal Halide" and the details of the LED system you are doing the analysis of in the right column.
4 | LUMINAIRE WATTAGE - In this section you can either use the lamp/modules' "stated wattages," for example, 400W MH and
250W LED, or use the "system wattages," if you know this information beforehand. "System wattages" are always slightly
higher because it takes extra energy (some of which is lost to heat) to power lamps/modules of stated wattages. Typically,
LED is a more efficient system, meaning that a smaller percentage of energy is lost to heat than other lighting systems.
5 | LAMP/MODULE LIFE/RATED HOURS is for inputting the life hours of lamps/modules of different types of systems. LED's rated
hours are 50,000, for instance, while most alternatives to LED are considerably lower.
6 | PER LAMP/MODULE COST - This is the cost of each new lamp needed of each respective type.
7 | PER LAMP/MODULE RE-LAMPING COST - Maintenance costs for replacing expired lamps/modules are considerable
and contribute heavily to the financial benefits of LED over other alternatives. Since LED lasts many
multiples of alternatives, this cost is cut down drastically.
8 | OCCUPANCY RATE: If you anticipate taking advantage of LED's capabilities, such that you can
turn the modules off for a certain percentage of the day compared with how you are using your existing systems now,
please enter that incremental percentage of time off into this field on the right. Oftentimes, traditional alternatives
with very long re-strike are left on 24/7, but switching to LED technology means that modules can be turned off to save
energy and extend system life.
9 | AVERAGE KWH COST is the amount you pay on average for energy based on actual cost per kWh plus tariffs,
demand charges, taxes and miscellaneous charges based on tier levels.
10 | OPERATING HOURS PER YEAR- This is for your CURRENT operating hours with the existing system. Notice that the
hours for LED will be adjusted based on the OCCUPANCY RATE as per 8 above.
11 | PROJECT IMPLEMENTATION COSTS - These three fields encapsulate the sell price of the luminaire, luminaire installation,
sell price and disposal of the prior luminaire sell price. These must be end-user prices, rather than costs.
12 | REBATES - Enter your custom rebate amount based on kWh saved, and enter incentive amounts per luminaire replaced.
13 | LIFE CYCLE CALCULATION IN YEARS - We typically enter 5 years into this calculation to match the duration of our
Limited Warranty.

## ROI Calculator Example
Rev. B
|  |  | MANUFACTURED BY: | ABC Lighting
|  |  | CONTACT: | E. REYES
RETROFIT ALL LUMINAIRES WITH NEW LED LIGHTING |  |  | DATE:
|  |  | PROJECT: | Bank of the South
PROJECT #:
Lighting System Data |  |  | Existing System | Proposed System
Luminaire or Retrofit Kit Part Number |  |  |  | TRMUNV065EC840A
Quantity of Luminaires |  |  | 100 | 100
Lighting System |  |  | METAL HALIDE | LED
Luminaire Wattage – Lamp, Module or Lamp/Ballast, Module/Driver Combination |  |  | 200 | 65
Lamp/Module Life, Rated Hours |  |  | 20000 | 100000
Per Lamp/Module Cost |  |  | 25 | 125
Per Lamp/Module Re-lamping Cost |  |  | 75 | 75
Occupancy Rate (Percentage of time off) |  |  |  | 0%
System Operating Data & Costs |  |  | Average kWh Cost---> | 0.14
Operating Hours per Year (Existing vs modified proposed with occupancy) |  |  | 4380 | 4380
Total Wattage / Total System |  |  | 20000 | 6500
Total Kilowatts / Total System |  |  | 20 | 6.5
Total Kilowatt Hours / Total System |  |  | 87600 | 28470
Annual Energy Costs |  |  | 12264 | 3985.8
Annual Lamp/Module Maintenance Costs (Based on Life Cycle in Years) |  |  | 1277.5 | 511
Annual Operating Costs |  |  | 13541.5 | 4496.8
Project Implementation Costs
Luminaire Sell Price |  |  |  | 150
Luminaire Installation Sell Price |  |  |  | 75
Recycling & Disposal Sell Price |  |  |  | 5
Total Project Sell Price (Invoice Amount to Customer) |  |  |  | 23000
Rebate (Custom - based on kWh saved) | 0.05 | kWh Rebate Amount |  | 2956.5
Rebate (Prescriptive - per unit price) | 60 | Per Luminaire Amount |  | 6000
Total Project Cost after Rebates |  |  |  | 14043.5
Project Payback Analysis |  |  | Life Cycle Calculation Years---> | 7
Annual Energy Savings from Project |  |  |  | 8278.2
Annual Maintenance Savings from Project |  |  |  | 766.5
Simple Payback in Years |  |  |  | 1.5527
Return on Investment |  |  |  | 58.95%
Life Cycle Savings based on Calculation Years |  |  |  | 63312.9
Life Cycle CO2 Emissions Reduction based on Calculation Years* |  |  |  | 215.85 tons
* based on eGRID 2012 CO2 Emission Factors, WECC California Region

## Fulham ROI Calculator-Template
Rev. B
MANUFACTURED BY:
CONTACT:
SCOPE OF WORK HERE |  |  | DATE:
PROJECT:
PROJECT #:
Lighting System Data |  |  | Existing System | Proposed System
Luminaire or Retrofit Kit Part Number
Quantity of Luminaires |  |  | 0 | 0
Lighting System
Luminaire Wattage – Lamp, Module or Lamp/Ballast, Module/Driver Combination
Lamp/Module Life, Rated Hours
Per Lamp/Module Cost
Per Lamp/Module Re-lamping Cost
Occupancy Rate (Percentage of time off) |  |  |  | 0%
System Operating Data & Costs |  |  | Average kWh Cost---> | 0
Operating Hours per Year (Existing vs modified proposed with occupancy) |  |  |  | 0
Total Wattage / Total System |  |  | 0 | #VALUE!
Total Kilowatts / Total System |  |  | 0 | #VALUE!
Total Kilowatt Hours / Total System |  |  | 0 | #VALUE!
Annual Energy Costs |  |  | 0 | #VALUE!
Annual Lamp/Module Maintenance Costs (Based on Life Cycle in Years) |  |  | #VALUE! | #VALUE!
Annual Operating Costs |  |  | #VALUE! | #VALUE!
Project Implementation Costs
Luminaire Sell Price |  |  |  | 0
Luminaire Installation Sell Price |  |  |  | 0
Recycling & Disposal Sell Price |  |  |  | 0
Total Project Sell Price (Invoice Amount to Customer) |  |  |  | 0
Rebate (Custom - based on kWh saved) | 0 | kWh Rebate Amount |  | #VALUE!
Rebate (Prescriptive - per unit price) | 0 | Per Luminaire Amount |  | 0
Total Project Cost after Rebates |  |  |  | #VALUE!
Project Payback Analysis |  |  | Life Cycle Calculation Years---> | 0
Annual Energy Savings from Project |  |  |  | #VALUE!
Annual Maintenance Savings from Project |  |  |  | #VALUE!
Simple Payback in Years |  |  |  | #VALUE!
Return on Investment |  |  |  | #VALUE!
Life Cycle Savings based on Calculation Years |  |  |  | #VALUE!
Life Cycle CO2 Emissions Reduction based on Calculation Years* |  |  |  | #VALUE!
* based on eGRID 2012 CO2 Emission Factors, WECC California Region